## Planilha1
CHROMAMON (Chromatographic Monitoring)
Transformer Identification |  |  |  | Chromatographic Analysis Data | [11 empty] | Environment Parameters |  |  | History and Observations
Transformer ID | Transformer Name | Location | Installation Date | Analysis Date | Analysis Hour | H2 dissolved (ppm) | CO dissolved (ppm) | CO2 dissolved (ppm) | C2H4 dissolved (ppm) | C2H6 dissolved (ppm) | CH4 dissolved (ppm) | C2H2 dissolved (ppm) | Oil acidity (mg KOH/g) | Oil temperature (°C) | Oil pressure (atm) | Environment temperature (°C) | Environment humidity (%) | Atmospheric pressure (atm) | Last maintenance date | Maintenance done | Observations
T01467 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected
T01468 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected
T01468 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected
T01468 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected
T01468 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected
T01468 | UHV transformer 3 | Substation 351 | 2019-06-24 | 2024-11-19 | 13:35 | 2 | 120 | 320 | 50 | 20 | 5 | 2 | 0.02 | 65 | 1.01 | 30 | 60 | 1.01 | 2023-12-12 | Oil Change | No faults detected